GENERAL BIOLOGICAL AGENTS SAFETY INSPECTION CHECKLIST

| Building: | Areas Inspected: |
| --- | --- |
| Occupiers of Area: |  |
| Inspected By (name and signature): | Date: |

| BIOLOGICAL AGENTS STORAGE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are biological agents stored securely? |  |  |  |
| Is there a system to control the purchase of biological agents? |  |  |  |
| Is there a system to ensure relevant agents are notified to the Registrar’s Office as per statutory reqs? |  |  |  |
| Are agents stored in suitable containers with containers clearly labelled eg type, owner and date? |  |  |  |
| Are fridges etc used to store agents clean and tidy and clearly marked that agents are stored in it? |  |  |  |
| Are items stored on the floor? If so in suitable containers ie plastic not cardboard? |  |  |  |
| Is there adequate storage for PPE eg Lab coats, spares of gloves? |  |  |  |

| WASTE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are general waste bins clearly identifiable? |  |  |  |
| Are dedicated, clearly identifiable waste bins available for biological waste ie gloves? |  |  |  |
| Are suitable sharps bins available? |  |  |  |
| Is a specific area provided for items awaiting autoclaving – is this clearly identifiable? |  |  |  |
| Is general waste and biological waste disposed of promptly? |  |  |  |
| Are contaminated items / waste autoclaved promptly and then disposed of or returned to use? |  |  |  |

| INSTRUCTION / INFORMATION |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are Good Microbiological Practices displayed? |  |  |  |
| Are Safe Working Practices displayed? |  |  |  |
| Is the Code of Practice displayed? |  |  |  |
| Are Risk Assessments readily available? |  |  |  |
| Are Emergency Procedures displayed? |  |  |  |
| Do staff / students know where to obtain information relating to the use of biological agents? |  |  |  |
| Do staff / students understand the local rules ie PPE, good hygiene practices? |  |  |  |
| Do staff / students know the emergency procedures eg first aid, fire, action to take if contaminated? |  |  |  |
| Do staff / students know the Out of Hours Rules? If a ‘signing in’ book is present is it being used? |  |  |  |

| PPE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are suitable gloves in a range of sizes freely available? |  |  |  |
| Are sufficient Lab Coats provided and are they clean and in good condition? |  |  |  |
| Is PPE stored in a suitable location? Is this area tidy? |  |  |  |
| Are those present wearing their lab coat and gloves / safety glasses (if applicable)? |  |  |  |
| BIOLOGICAL SAFETY CABINET |  |  |  |
| Item | YES | NO | Comment / Action |
| Does the cabinet have an in-date test sticker affixed to it? |  |  |  |
| Is the cabinet clean? |  |  |  |
| Is the cabinet free of unnecessary items and not used for general storage? |  |  |  |
| Are any vents / exhausts clear and unobstructed? |  |  |  |
| Are items in the cabinet clearly labelled with the date, details of owner and content? |  |  |  |

| AUTOCLAVES (floor standing) |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are all autoclaves tested with an in-date inspection / test label affixed? |  |  |  |
| Are appropriate heat resistant gloves available? |  |  |  |
| Is the Authorised Persons list displayed? |  |  |  |
| Is a Log Book available? Are relevant details completed? |  |  |  |
| Are autoclave bags available? |  |  |  |
| Is there evidence of efficacy tests of the autoclave to confirm its operation? |  |  |  |

| DISINFECTION |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Is appropriate disinfectant available? |  |  |  |
| Are paper towels / suitable cleaning equipment provided? |  |  |  |
| Are records kept of disinfection? |  |  |  |

| HAND WASH FACILITIES |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Is there a dedicated hand wash sink which is signed hand wash only sink? |  |  |  |
| Are the sinks a hands free operation eg elbow / knee operated taps? |  |  |  |
| Are sinks clean and tidy? |  |  |  |
| Are paper towels and a suitable soap / hand wash provided? |  |  |  |

| GENERAL |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Does electrical equipment have an in-date PAT Test label? |  |  |  |
| Is there electrical equipment that shouldn’t be there ie stereo? |  |  |  |
| Are details of the local First Aider provided? |  |  |  |
| Are a First Aid box and Eye Wash available? Are their contents complete and in date? |  |  |  |
| If showers are available are they clean with evidence they are tested for legionella? |  |  |  |
| Are Fire Action Notices displayed explaining what to do in a fire / fire alarm? |  |  |  |
| Are appropriate fire extinguishers available which have been tested in the last year? |  |  |  |
| Are fire exits / fire escape routes clear? |  |  |  |
| Is the area generally clean and tidy and in good condition eg no trip hazards, items stored safely? |  |  |  |