GENERAL BUILDING AND LOCAL ENVIRONMENT SAFETY INSPECTION CHECKLIST

| Building: | Areas Inspected: |
| --- | --- |
| Occupiers of Area: |  |
| Inspected By (name and signature): | Date: |

| ACCESS |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are paths and steps leading to the building in good repair? Are step edges marked? Handrails in place? |  |  |  |
| Does vegetation cause a problem eg algae or leaves causing paths and steps to become slippery? |  |  |  |
| Is external lighting working are the lighting levels sufficient? |  |  |  |
| Are there problems with vehicles blocking access / egress routes? |  |  |  |
| Are there personal security concerns eg people hanging around? |  |  |  |
| Do building entry systems work correctly eg powered doors / swipe card systems? |  |  |  |

| Electrical |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Have electrical appliances been PAT Tested? Are labels affixed to show this, are they in date? |  |  |  |
| Are electrical appliances in good order eg no damaged plugs, casings, snags in leads? |  |  |  |
| Are extension leads used properly eg fully uncoiled, not over loaded, leads not creating trip hazards? |  |  |  |
| Do users undertake visual inspections of electrical equipment? |  |  |  |
| Are there electrical items that shouldn’t be present eg stereos? |  |  |  |
| Are heaters PAT Tested and in good condition? NOTE: Open bar heaters are not allowed |  |  |  |

| GENERAL ENVIRONMENT |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Is the temperature, lighting and ventilation suitable? |  |  |  |
| Are extra heaters, fans and desk lights available if required? |  |  |  |
| Is there excessive, noise, dust or fumes? |  |  |  |
| Are service covers in place? |  |  |  |
| Is the building in good repair eg flooring, steps, windows, paintwork? |  |  |  |
| Is furniture in good repair? |  |  |  |

| HOUSEKEEPING |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Area areas generally clean and tidy? |  |  |  |
| Are doors / walkways / fire exits clear and free from obstructions? |  |  |  |
| Is there any storage / shelving at very high level which are difficult to get to? |  |  |  |
| Are the floors and walkways clear of trip hazards eg cables, leads, boxes? |  |  |  |
| Are items stored safely ie heavy items at a lower level, items not used frequently at high level? |  |  |  |
| Is there sufficient storage space? Are there items that can be disposed of or stored elsewhere? |  |  |  |

| WELFARE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are welfare facilities ie toilets, kitchen, drinking water available? |  |  |  |
| If a hot water boiler is in the kitchen does it have a warning hot water label affixed? |  |  |  |
| Are these areas and any associated equipment eg fridges clean and tidy? |  |  |  |
| Is there sufficient soap and towels for hand washing? |  |  |  |
| If showers available are these clean? Is there evidence of testing for legionella? |  |  |  |

| WASTE DISPOSAL |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are there sufficient bins? |  |  |  |
| Are recycling bins available? |  |  |  |
| Are bins emptied regularly? |  |  |  |
| Are there wheelie bins nearby? |  |  |  |

| FIRE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are suitable fire extinguishers available? |  |  |  |
| Have extinguishers been tested in the last year with a label affixed to show this? |  |  |  |
| Are Fire Action Notices displayed? Do these detail the Assembly Point? |  |  |  |
| If Refuge Points are available do they have instructions on how to use them? |  |  |  |
| Are fire exit routes free from obstructions? Are the routes signed? |  |  |  |
| Are final fire exit doors clear and signed? Do they have push open systems? |  |  |  |
| Is the fire escape in good order ie steps free from algae / rust? |  |  |  |

| FIRST AID |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are First Aid posters displayed detailing first aid arrangements? |  |  |  |
| Is a First Aid box available? Are the contents complete with items in date? |  |  |  |
| Is an eye wash available – is it in date? |  |  |  |
| Is an emergency shower available? Is this clean with evidence that it is tested for legionella? |  |  |  |