GENERAL CHEMICAL SAFETY INSPECTION CHECKLIST

| Building: | Areas Inspected: |
| --- | --- |
| Occupiers of Area: |  |
| Inspected By (name and signature): | Date: |

| CHEMICAL STORAGE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Is there an accurate inventory for the chemicals? |  |  |  |
| Is there a system to control the purchase of chemicals? |  |  |  |
| Is there a system to ensure specific items eg drug precursors are notified to the Registrar’s Office? |  |  |  |
| Are MSDS Sheets available for the chemicals? |  |  |  |
| Are COSHH Assessments available for the chemicals used / experiments undertaken? |  |  |  |
| Are stored liquid chemicals in a suitable bund? |  |  |  |
| Are chemicals stored safely in the lab ie no risk of being knocked over and glass items below head height? |  |  |  |
| Are chemicals clearly labelled with what they are, associated hazards and date / owner (if applicable)? |  |  |  |
| Are incompatible chemicals stored separately? |  |  |  |
| Are specific chemicals ie poisons and drug precursors stored in a lockable cabinet with key access restricted? |  |  |  |
| Are minimum quantities of chemicals stored in the laboratory / work area? |  |  |  |

| WASTE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are waste chemicals labelled as waste and stored in a suitable location until final disposal? |  |  |  |
| Are facilities available for different chemical waste streams ie solid waste, liquid waste? |  |  |  |
| Are bins clearly marked with their waste stream? Including general waste? |  |  |  |
| Is there a dedicated sink for acceptable liquid waste? Is the sink clearly marked? |  |  |  |
| Are waste chemicals disposed of promptly? |  |  |  |
| Are records kept of the chemicals disposed of? |  |  |  |

| CHEMICAL USE – STAFF / STUDENT KNOWLEDGE |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are General Lab Rules displayed ie PPE, no eating, drinking? |  |  |  |
| Do staff / students know where COSHH Assessments / MSDS documents are kept? |  |  |  |
| Do staff / students understand the hazards associated with their work, good hygiene practice etc? |  |  |  |
| Can evidence of training in the safe use of chemicals be provided? |  |  |  |
| Do staff / students know what to do in an emergency ie fire, first aid, personal contamination? |  |  |  |
| Do staff / students know what action to take in the event of a chemical spill? |  |  |  |
| Are they aware of the CLP Regulations coming into effect in June 2015 ie change in symbols / phrases? |  |  |  |

| PPE AND SPILL KITS |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are suitable gloves in a range of sizes freely available? |  |  |  |
| Are suitable goggles and masks freely available? |  |  |  |
| Are all staff / students wearing lab coats, gloves etc? |  |  |  |
| Are chemical spill kits available with instruction on how to use them? |  |  |  |

| FUME HOODS |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Does the Fume Hood have an in-date test sticker affixed to it? |  |  |  |
| Is the safe working sash height indicated? |  |  |  |
| Are all flow meters working? |  |  |  |
| Are all fume hoods clean and tidy with no evidence they are used for general storage? |  |  |  |
| Are containers in the fume hood labelled with the date, owner, chemical and associated hazards? |  |  |  |
| Are vents clear of obstructions? |  |  |  |

| GASES |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are gases / gas cylinders labelled with their content and the direction of flow if applicable? |  |  |  |
| Do regulators have in date inspection labels affixed? |  |  |  |
| Is there a central gas isolation point if bench mounted gas taps are present? |  |  |  |
| Are instructions displayed on the action to take if a gas is leaking? |  |  |  |

| HAND WASH FACILITIES |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Are hand wash sinks available with a hand wash only sink sign displayed? |  |  |  |
| Are sinks clean and tidy? |  |  |  |
| Are paper towels and soap provided? |  |  |  |

| GENERAL |  |  |  |
| --- | --- | --- | --- |
| Item | YES | NO | Comment / Action |
| Does electrical equipment have an in date PAT Test label? |  |  |  |
| Is there electrical equipment that shouldn’t be there ie stereo? |  |  |  |
| Are details of the local First Aider provided? |  |  |  |
| Are a First Aid box and Eye Wash available? Are their contents in date? |  |  |  |
| Is there an Emergency Shower? Is this clean with evidence of legionella tests undertaken? |  |  |  |
| Are Fire Action Notices displayed detailing what action to take in a fire / if the fire alarm sounds? |  |  |  |
| Are appropriate fire extinguishers available and which have been inspected in the last year? |  |  |  |
| Are fire exits / fire escape routes clear? |  |  |  |
| Is the area generally clean and tidy with items stored safely ie no trip hazards, heavy / glass items stored above head height? |  |  |  |